## Sheet1
item | specification
number of display digits | 10 including decimal points
number of cycles
display paramters | kwh/kvar for the current billing period(and previous months)
cumulative kwh/kvar since installation
last mounth consumption
sun rise / sun set time -date and time
instantenuos voltage for each phase
instantenuos primary current for each phase
instantenuos / average power factor for each phase
maximum demand in kwh anp ampere ¦¦ previous max demand and it's date
ct ratio
limiter | shall be programmed
load desconnection | External contactor controlled by auxilliary output signal the meter shall provide two digital input signals and three output
test mode | shall be entered using the optical port
historic consumption | total energy shall be stored for the previous twelve months
load disconnection | shall have an option to switch the contactor manually and shall have a number of cycles for that